## Slide 1: Weekly report: Foundations
Week number: 8
Date: 11/11/2025
Supervisor: Prof. Dr.-Ing. Torsten Faber
Group members : Jehad Albaali- Amgad Gerges - Reda Deif
presented by : Reda Deif

## Slide 2: List of contents
Design of Raft for bending moment
Next tasks
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif

## Slide 3
Concrete Dimensions
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Diameter of Base Plate (BP) = 25 m
Diameter of Pedestal = 7 m
Height Pedestal = 1.5 m
Height of Middle slab = 2 m
Height of Frustum (HF) = 1.5 m
Height of Edge slab (HE) = 0.5 m

## Slide 4: Input data
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif

## Slide 5: Design of Raft for bending moment
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Circular Foundation Parameters :
Diameter D = 25 m → radius r = 12.5 m
Ultimate overturning moment M= 236,822 kN·m
Concrete thickness h = 2.0 m
Reinforcement design for bending due to overturning moment

## Slide 6: Moment per unit width at foundation edge
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif

## Slide 7: Reinforcement Calculation
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Given/assumed:
Concrete C30/37
Steel B500
Cover c = 50 mm
Effective depth d = 1,950 mm
Required steel area:
Minimum Reinforcement Check
>
Concrete grades according to EC 2 and DIN 1045-1 (2008)
Reference :
EN 1992 – Eurocode 2: Design of Concrete Structures

## Slide 8
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Reinforcement Calculation
Reference :
*

## Slide 9: Shop drawing
Group members: Jehad Albaali- Amgad Gerges - Reda Deif

## Slide 10
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Time Schedule Planning
Time Schedule Planning
Week 1-2: Data Collection & Project Kick-off
Week 3-4: Geotechnical Analysis & Conceptual Design
Week 5-7: Detailed Design & Verification
Week 8-9: Structural Design (Rebar & Shear)
Week 10-11: Final Drawings & Documentation
Week 12: Final Review & Submission

## Slide 11
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Next Tasks
Design of Raft for shear