## Slide 1: Weekly report: Load & Dynamics
Week number: 04
Date: 21/10/2025
Supervisor: Mr. Manjock
Group members: Md Aman, Arham Memon, Paresh Nakum
Presenter – Md Aman
21/10/2025
Md Aman, Arham Memon, Paresh Nakum
Optimus Syria

## Slide 2: Agenda
Tip Deflection
Wind Field Simulation
  4 m/s
  8.64 m/s annual mean wind speed
  24 m/s
Wind Turbine classes
Dynamic Simulation
Future Plan
Bibliography
21/10/2025
Load & Dynamics Team/ Optimus Syria
Md Aman

## Slide 3: Tip Deflection
21/10/2025
3
Load & Dynamics Team/ Optimus Syria
Md Aman
Tip deflection in a wind turbine refers to how much the tip of a turbine blade bends or moves from its original (undeformed) position when the turbine is operating — mainly due to aerodynamic, gravitational, and inertial loads.
It is Important because of
Structural Safety – prevents from tower strike
Fatigue – prevents from flexing damage
NREL’s 2022 study comparing aeroelastic methods notes the regime where out-of-plane tip deflections exceed about 5% of blade length (and in-plane >1.25%) — above this the usual BEM methods underpredict and the blade is considered “highly flexible.” (NREL uses this as guidance to switch methods). For an 80 m blade, 5% = 4.0 m

## Slide 4: Tip Deflection
21/10/2025
4
Load & Dynamics Team/ Optimus Syria
Md Aman
*LM Wind Power, Jupitervej 6, Kolding DK-6000, Denmark

## Slide 5: Wind Field Generation
21/10/2025
5
Load & Dynamics Team/ Optimus Syria
Md Aman
NTM - Normal Turbulence Method for 4 m/s wind speed
ETM - Extreme Turbulence Method for 4 m/s wind speed

## Slide 6: Wind Field Generation
21/10/2025
6
Load & Dynamics Team/ Optimus Syria
Md Aman
NTM - Normal Turbulence Method for 8.64m/s annual mean wind speed
ETM - Extreme Turbulence Method for 8.64m/s annual mean speed

## Slide 7: Wind Field Generation
21/10/2025
7
Load & Dynamics Team/ Optimus Syria
Md Aman
NTM - Normal Turbulence Method for 24 m/s wind speed
ETM - Extreme Turbulence Method for 24 m/s wind speed

## Slide 8: Wind Turbine Classes
21/10/2025
8
Load & Dynamics Team/ Optimus Syria
Md Aman
* IEC 61400-1 2019-02, Ed. 4.0/ DNVGL-ST-0437 Loads and site conditions for wind turbines 11-2016
Key decision OPTIMUS Syria Class IIA

## Slide 9: Next Dynamic Simulations
21/10/2025
9
Load & Dynamics Team/ Optimus Syria
Md Aman
Simulation Type | Purpose | Example Use
Normal operating (DLC 1.2) | Understand response under average turbulence | Power, pitch angles, tower motion
Extreme gusts (DLC 1.3) | Check structural limits | IEC Extreme Operating Gust (EOG)
Turbulent / stochastic (DLC 1.2) | Fatigue estimation | Damage equivalent loads (DEL)
Fault or shutdown (DLC 2.X) | Emergency events | Grid-loss, emergency stop, pitch failure

## Slide 10: Future Plan
In the next week we’ll
Configure OpenFast with other EWM1 & EWM50 for Syrian Condition
Create more turbulent wind fields
Start other parameters of DLC
Work with calculating forces and moments at different section of turbine with other teams
21/10/2025
10
Load & Dynamics Team/ Optimus Syria
Md Aman

## Slide 11: References
Load Reports of the OPTIMUS projects
Loads and site conditions for wind turbines, DNVGL-ST-437,Edition November 2016
IEC 61400-1 2019-02, Ed. 4.0/ DNVGL-ST-0437 Loads and site conditions for wind turbines 11-2016
TurbSim, OpenFAST & NREL 5 MW
LM Wind Power, Jupitervej 6, Kolding DK-6000, Denmark
21/10/2025
11
Load & Dynamics Team/ Optimus Syria
Md Aman