## Slide 1: Weekly report: Tower structure
Week number: 04
Date: 21/10/2025
Supervisor: Prof. Faber
Group members:,Mohammed Eldemerdash, Ibrahim Mostafa ,Kirollos Ghaly
Speaker: Kirollos Ghaly (760171)

## Slide 2: List of contents
Check Stress of the Tubular Steel structure
Sketch of tower dimensions.
Handwritten load calculations and stress analysis.
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
21/10/2025

## Slide 3
Loads calculations and stress analysis
Source: Prof. Dr.-Ing. Torsten Faber lectures
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
21/10/2025

## Slide 4
Assumptions
𝜌air=1.225 kg/m3
𝜌steel=7850 kg/m3
𝑔=10 m/s2
𝐷rotor=160 m, 𝐷𝑜=4.8 m, 𝑡=0.055 m
⇒ 𝐷𝑖=4.69
Steel grade S355⇒
𝐻tower=98 m
ℎhub=100 m
𝑚assrotor=110,000 kg
𝑚assnacelle=240,000 kg
𝑀omentat the top=33000 kN
𝑀omentat the base=284000 kN
Asuumptions for the bottom section
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Reference to data assumptions:
-Load and Dynamic team
-https://www.nrel.gov/wind/data-tools
21/10/2025

## Slide 5
Loads calculations and stress analysis for the bottom section
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Step 1. Calculate vertical loads
At top section
At bottom section
Total vertical load
21/10/2025

## Slide 6
Loads calculations and stress analysis for the bottom section
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Step 2. Section properties at base
Step 3. Base stress due to combined loading
✅ Safe
21/10/2025

## Slide 7
Assumptions
𝜌air=1.225 kg/m3
𝜌steel=7850 kg/m3
𝑔=10 m/s2
𝐷rotor=160 m, 𝐷𝑜=4.6 m, 𝑡=0.05 m
⇒ 𝐷𝑖=4.69
Steel grade S355⇒
𝐻tower=98 m
ℎhub=100 m
𝑚assrotor=110,000 kg
𝑚assnacelle=240,000 kg
𝑀omentat 20m from the base=233900 kN.m
Asuumptions for the second section at height 20 from the base
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Reference to data assumptions:
-Load and Dynamic team
-https://www.nrel.gov/wind/data-tools
21/10/2025

## Slide 8
Loads calculations and stress analysis the second section at height 20 from the base
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Step 1. Calculate vertical loads
At top section 1
At top section 1
t= 0.05 m & H = 78 m & Do = 4.6 m
Total vertical load
21/10/2025

## Slide 9
Loads calculations and stress analysis the second section at height 20 from the base
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Step 2. Section properties at base
Step 3. Base stress due to combined loading
M (second section) at 20 m = 233906kn.m
✅ Safe
21/10/2025

## Slide 10
Sketch of tower dimensions
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
21/10/2025

## Slide 11
Loads calculations and stress analysis- handwritten calculations
Fig 10,11: Original handwritten calculations
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 12
Loads calculations and stress analysis- handwritten calculations
Fig 10,11: Original handwritten calculations
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly