## Slide 1: List of contents
Bakhtyar karim
Introduction to Guidelines
  Guidline for Certification of Wind Turbines 2010
  DNV/ST/0437: Load and Site Condistions
  DNVGL/ST/0376: Rotor Blade for Wind Turbines
  DNVGL/ST/0361: Machinery for Wind Turbines
  DNVGL/ST/0126: Suport Structure for Wind Turbines
  DNVGL/ST/0416: Corrosion Protection for Wind Turbines
Guidlines for Teams
Final Report Template & GitHub

## Slide 2: 1. Introduction to Guidlines
Bakhtyar Karim
WHAT are these Guidelines?
They are the official DNV GL / GL standards our (engineering rulebook). They provide the internationally accepted technical requirements for designing, manufacturing, and testing every part of a wind turbine, from the blades to the foundation.

## Slide 3: 1.i. Guidline for Certification of Wind turbines 2010
Bakhtyar Karim
This document is the project's certification roadmap, defining the entire process through three core phases:
Design Assessment
Manufacturing Inspection
Prototype Testing.
It ensures all specialized work is integrated into a cohesive and certifiable
package that meets strict regulatory safety standards.
The guideline establishes the context for all other DNV GL standard. It specifically mandates documentation for Load Assumptions (Ch. 4), Strength Analyses (Ch. 5), and requirements for Machinery and Electrical Installations (Ch. 7 & 8), providing the initial scope and guaranteeing industrial recognition of our design.
[1]

## Slide 4: 1.ii. DNV/ST/0437: Load and Site Condistions
Bakhtyar Karim
This is the fundamental input standard for all engineering, dictating the environment the turbine must survive. It provides the methodology for defining all relevant external conditions, including wind turbulence and temperature ranges. Critically, it combines these with operational states into a set of Design Load Cases.
The Load and Dynamic team uses this to determine the extreme and fatigue loads for every component, the Controller teams must reference this standard because their innovative control strategies are judged by how effectively they mitigate these loads and prevent component failure during specific fault scenarios (grid loss, EOG).
[2]

## Slide 5: 1.iii. DNVGL/ST/0376: Rotor Blades for Wind Turbines
Bakhtyar Karim
This document is the exclusive technical guide for our composite rotor blades , governing design, materials, manufacturing quality, and verification through testing. It mandates verification against specific FRP failure modes: Fibre Failure (FF), Inter Fibre Failure (IFF), and Buckling. It specifies the partial safety factors needed for composite materials to account for degradation and temperature effects.
For Rotor Blade Structures and Aerodynamics teams, this standard defines the technical acceptance criteria for their design.
[3]

## Slide 6: 1.iv. DNVGL/ST/0361: Machinery for Wind Turbines
Bakhtyar Karim
This standard governs the design and verification of all mechanical machinery in the nacelle, gearbox, bearings also brake, pitch and yaw system. It provides the specific structural and fatigue analysis rules for metallic components, ensuring they safely manage the extreme torque and load.
[4]
This guideline gives the mechanical teams the main instructions they need. It tells them how to analyze the engine and gears so we can stop resonances. More importantly, this rulebook makes sure safety systems like the brakes and pitch control are reliable, so that every moving part on the turbine is safe for long term use.

## Slide 7: 1.v. DNVGL/ST/0126: Support Structure for Wind Turbines
Bakhtyar Karim
This is the definitive technical code for the structural design of the tower and foundation teams, it establishes the rules for verifying the support structure against Ultimate (ULS), Fatigue (FLS), and Serviceability (SLS) limit states. For the tower, this includes detailed rules for shell buckling and the strength of the crucial flange and welded connections.
For the foundation, it details the necessary requirements for geotechnical design (soil structure interaction) and the structural dimensioning of concrete and steel elements. By adhering to this standard, we ensure the 5 MW turbine is securely anchored and the tower maintains its stability and integrity under the enormous forces applied at the hub over the WEC's lifespan.
[5]

## Slide 8: 1.vi. DNVGL/RP/0416: Corrosion protection for Wind Turbines
Bakhtyar Karim
This document is a Recommended Practice (RP), offering essential guidance rather than mandatory requirements, it helps classify different corrosion zones (atmospheric, splash, submerged) and details technical solutions to minimize degradation.
The RP outlines specific measures that must be considered by design teams, such as the use of high performance coating systems for the tower and nacelle, and the use of corrosion allowance (extra material thickness) on vulnerable parts. Implementing these measures is critical for minimizing degradation and achieving the target Lowest Cost of Energy (LCOE) over the turbine's operational life.
[6]

## Slide 9: 2.i. Mass distribution
Bakhtyar Karim
DNV-ST-0437: Loads and Site Conditions | 2. Loads and Dynamics 7. Grid Code Development
DNVGL-ST-0126: Support Structures for WT | 12. Tower, 13. Foundation
DNVGL-ST-0376: Rotor Blades for WT | 4. Rotor Blade Aerodynamics, 5. Rotor Blade Structures
DNVGL-ST-0361: Machinery for WT | 6. Electrical Drivtrain 8. Rotor Hub & Pitch System, 9. Rotor Bearing System, 10. Gearbox, Brake, Coupling, 11. Machine Bed, Yaw System
DNVGL-RP-0416: Corrosion Protection | 0.2 System Integrator (Nacelle Cover), 12. Tower, 13. Foundation 14. Storage
GL Guideline for the Certification of WT | 0.1 Head of Project, 0.2 System Integrator, 1. Windfarm Project Dev. 3. feedback & Lidar assisted Control (All Other Teams)

## Slide 10: 3. Final Report Template & GitHub
Bakhtyar Karim
Those teams that want to start working on the final report, the template is ready now with necessary details:
Optimus-Syria-WEC/2_Technical_Reports at main · Karim-bakhtyar/Optimus-Syria-WEC
Optimus-Syria-WEC/6_Documentation_Archive/Guidelines at main · Karim-bakhtyar/Optimus-Syria-WEC

## Slide 11: Bibliography / Managment Team / PM
[1] GL Guideline for the Certification of Wind Turbines: Edition 2010
[2] DNVGL-ST-0437: Loads and site conditions for wind turbines: Edition November 2016
[3] DNVGL-ST-0376: Rotor blades for wind turbines: Edition December 2015
[4] DNVGL-ST-0361: Machinery for wind turbines: Edition September 2016
[5] DNVGL-ST-0126: Support structures for wind turbines: Edition July 2018
[6] DNVGL-RP-0416: Corrosion protection for wind turbines: Edition March 2016
Bakhtyar Karim