## Slide 1
Weekly report: Electrical Drivetrain
Week number: 10
Date: 02/12/2025
Supervisor: Prof. Dr.-Ing. Saiju
Group members: Aiswarya Vijayan, Vishranti Shivajirao Patil , Girish Mahadeo Padalkar, Cristina Milene Vergara Hernandez

## Slide 2: List of contents
Vishranti Patil
Electrical Drive Train/ Optimus Syria
Detailed design Electrical parameter of transformer.
Mechanical parameter of transformer.
Mat lab simulation of transformer.
Mat lab simulation Result of transformer.
Cost of All Electrical Drivetrain Components.

## Slide 3: 1. Electrical parameter of transformer.
Vishranti Patil

## Slide 4: 1. Electrical parameter of transformer.
Vishranti Patil
Source: https://ece.poriyaan.in/topic/equivalent-circuit-of-a-transformer-20011/

## Slide 5: 2. Mechanical Dimension of transformer.
Vishranti Patil
PHYSICAL PARAMETER | LENGTH | HEIGHT | WIDTH
TRANSFORMER DAIMENSION | 2.7M | 2.1M | 2.4M
Refertence: BETA Elektrotechnik GmbH. “Oil Transformers.” BETA–Elektro, accessed November 29, 2025. https://www.beta-elektro.com/oil-transformers

## Slide 6: 3. Mat lab simulation of transformer.
Vishranti Patil
Transformer scheme . Source [own]. 28.11.2025

## Slide 7: 4. Mat lab simulation Result of transformer.
Vishranti Patil
Primary Voltages Secondary Voltages
Transformer scheme . Source [own]. 28.11.2025

## Slide 8: 5. Cost of All Electrical Drivetrain Components.
Vishranti Patil
Components | Prizes Range
1. Generator | 300,000–600,000 EUR
2. Converter | 80,000-150,000 EUR
3. Transformer | 37,000–74,000 EUR
4. Cables & Switch Gears | 30,000-100,000 EUR

## Slide 9: 6.Next Step
To finalize the simulation for all components combined.
To finalize the CAD model of the electrical drive train;
To start the redaction of report and final presentation.
Using power factory results to make final selection of cables and switchgear.
Vishranti Patil

## Slide 10: Bibliography
02/12/2025
1. Source [1]: Electrical machines and power electronics course Prof.Dr.-Ing Rajesh Saiju,
2. Source [2]: Power system analysis by hadi saadat. [ 25.11.2025]
3. BETA Elektrotechnik GmbH. “Oil Transformers.” BETA–Elektro, accessed November 29, 2025. https://www.beta-elektro.com/oil-transformers
4. Equivalent Circuit of a Transformer,” Poriyaan. [Online]. Available: https://ece.poriyaan.in/topic/equivalent-circuit-of-a-transformer-20011/. [Accessed: Nov. 29, 2025].
5. Source [3]: Electrical engineering for wind turbines course of Prof. Dr. Ingmar Leise. [ 02.12.2025]