## Slide 1: Weekly report: Tower structure
Week number: 10
Date: 02/12/2025
Supervisor: Prof. Faber
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirollos Ghaly
Speaker: Ibrahim Mostafa(770134)
1
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 2: List of contents
Recalculation of the Eigenfrequency, Campbell diagram with the operational range
Design the flange connection
The next task
References
2
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 3
Calculation of the Eigenfrequency
Fig : calculation of the eigen frequency using Ansys
3
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 4
Campbell diagram
4
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 5
Campbell diagram
Fig : operational range of the rotor on campbell diagram
6.6
16.3
6.7
10.65
This is according to SI calculations
5
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 6
6
Tower structure team/ Optimus Syria
18/11/2025
Speaker: Mohammed Eldemerdash (760137)
Design the flange connection
Source: Prof. Dr.-Ing. Torsten Faber lectures

## Slide 7
Design the flange connection
7
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 8
Design the flange connection
8
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 9
Design the flange connection
9
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 10
Design the flange connection
10
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 11
Design the flange connection
Joint | Flange Location | Bolt Size | Bolt Grade | Number of Bolts (total) | Flange Thickness
J1 | Base (20 m) | M48 | 10.9 HV | 92 | 100 mm
J2 | 40 m joint | M48 | 10.9 HV | 70 | 90 mm
J3 | 60 m joint | M48 | 10.9 HV | 48 | 80 mm
J4 | 80 m joint | M48 | 10.9 HV | 32 | 60 mm
J5 | Top joint | M48 | 10.9 HV | 32 | 60 mm
11
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 12
The next task
Design the door opening.
12
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)

## Slide 13
References
https://www.nrel.gov/wind/data-tools
13
Tower structure team/ Optimus Syria
02/12/2025
Speaker: Ibrahim Mostafa (770134)