## Slide 1: Weekly report: Foundations
Week number: 9
Date: 25/11/2025
Supervisor: Prof. Dr.-Ing. Torsten Faber
Group members : Jehad Albaali- Amgad Gerges - Reda Deif
presented by : Amgad Gerges

## Slide 2: List of contents
Check punching shear stress
Types of connection between Tower and foundation
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif

## Slide 3
Concrete Dimensions
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Diameter of Base Plate (BP) = 25 m
Diameter of Pedestal = 7 m
Height Pedestal = 1.5 m
Height of Middle slab = 2 m
Height of Frustum (HF) = 1.5 m
Height of Edge slab (HE) = 0.5 m

## Slide 4: Input data
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif

## Slide 5: Check punching shear stress
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Reference:
EN 1992 – Eurocode 2: Design of Concrete Structures

## Slide 6: Check punching shear stress
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Reference :
Concrete grades according to EC 2 and DIN 1045-1 (2008)
EN 1992 – Eurocode 2: Design of Concrete Structures

## Slide 7
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Types of connection between Tower and foundation
Anchor cage System
A large group of anchor bolts is connected to two steel rings (upper and lower),These bolts are pre-tensioned to resist tensile forces.
Advantages
Active system: Pre-tensioned bolts directly transfer tensile forces without relying on concrete cracking.
Clear and predictable load path: bolts carry tension, slab reinforcement carries bending.
Easy inspection and maintenance: since bolts and flange are accessible
Simple installation and alignment with tower

## Slide 8
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Types of connection between Tower and foundation
Anchor cage System
Disadvantages
Requires perfect bolt alignment and accurate pre-tensioning.
Risk of bolt fatigue or corrosion over time.
More components → more maintenance.

## Slide 9
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Types of connection between Tower and foundation
Embedded Ring System
A steel ring section with holes for reinforcement is embedded 1.5–2 m into the concrete foundation as part of the tower
Advantages
No anchor bolts → eliminates bolt fatigue issues.
Provides very rigid connection.
Simple external geometry
Disadvantages
Passive system → tensile forces require concrete cracking to activate reinforcement.
Hard to inspect or repair if any defect occurs because the steel is embedded.
Requires very high-quality concrete work around the steel section

## Slide 10
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Time Schedule Planning
Week 1-2: Data Collection & Project Kick-off
Week 3-4: Geotechnical Analysis & Conceptual Design
Week 5-7: Detailed Design & Verification
Week 8-9: Structural Design (Rebar & Shear)
Week 10 : Design connection between Tower and Foundation
11: Final Drawings & Documentation
Week 12: Final Review & Submission

## Slide 11
Foundations team/ Optimus Syria
Group members: Jehad Albaali- Amgad Gerges - Reda Deif
Next Tasks
Choose and Design connection between Tower and Foundation