## Slide 1: Impact of Syrian Climate on Energy Storage Systems
Introduction
Syria has diverse climate zones: Mediterranean coast, desert, and mountains.
Coastal: hot dry summers, mild wet winters.
Inland deserts: extreme heat in summer, cold winters, large variations.
High solar potential & moderate wind resources.
Climate strongly affects performance & lifetime of storage systems.

## Slide 2: Key Climate Factors in Syria
Temperature extremes: 0°C in winter to 40+°C in summer.
Humidity: High on coast, very low inland.
Dust storms in desert regions affect equipment.
Solar irradiation: 2000–2300 kWh/m² annually → excellent solar potential.
Water scarcity: challenge for hydro-based storage.

## Slide 3: Battery Energy Storage Systems (BESS)
Challenges in Syria:
High summer heat reduces lifespan & efficiency.
Dust and humidity affect safety.
Opportunities:
Suitable for urban areas & solar PV integration.
Lithium-ion & Flow batteries are viable with cooling systems.

## Slide 4: Pumped Hydro Storage
Requirements: elevation difference & reliable water supply.
Syrian Context:
• Euphrates River dams (Tabqa, Tishreen) have some potential.
• Drought & climate change reduce water reliability.
Suitability: Limited compared to other regions.

## Slide 5: Thermal Energy Storage
How it works: stores heat from solar thermal plants.
Syrian Context:
• Abundant solar radiation = excellent for CSP with TES.
• Works well in desert regions (Palmyra, Deir Ezzor).
Suitability: Very high potential.

## Slide 6: Power-to-Gas (Hydrogen)
Concept: Excess renewable → hydrogen via electrolysis → stored & reconverted.
Syrian Context:
• High solar & wind → large hydrogen production possible.
• Not sensitive to temperature like batteries.
• Suitable for long-term & seasonal storage.
Suitability: Promising for the future.

## Slide 7: Comparison of Storage Systems
Support | Challenges | Advantages in Syria | System
Medium | Needs cooling, lifespan affected by heat | Reliable, suitable for urban areas | Batteries (PV)
Weak | Water scarcity, river dryness | Mature technology, existing dams | Pumped Hydro
High | Requires CSP and investments | High solar radiation, effective in deserts | Thermal (TES)
Very high | Expensive, requires new infrastructure | Long-term storage, insensitive to weather | Hydrogen (H2)

## Slide 8: Conclusion
• Syrian climate favors solar-based storage solutions.
• Thermal Energy Storage & Hydrogen are most suitable long-term.
• Batteries useful for short-term balancing but require cooling.
• Pumped Hydro has limited potential due to water scarcity.

## Slide 9: References
• IRENA – Renewable Energy & Storage Reports.
• World Bank Climate Data (Syria).
• UN ESCWA – Energy in the Arab Region.
• Academic studies on Syrian solar potential.