## Slide 1: Weekly report: Tower structure
Week number: 03
Date: 14/10/2025
Supervisor: Prof. Faber
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Speaker: Mohammed Eldemerdash (760137)

## Slide 2: List of contents
Check Stress of the Tubular Steel structure.
Solutions to overcome transportation of the steel tower .
Handwritten load calculations and stress analysis.
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
14/10/2025

## Slide 3
Loads calculations and stress analysis
Source: Prof. Dr.-Ing. Torsten Faber lectures
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
14/10/2025

## Slide 4
Assumptions
𝜌air=1.225 kg/m3
𝜌steel=7850 kg/m3
𝑔=10 m/s2
𝐷rotor=160 m, 𝐷𝑜=5.5 m, 𝑡=0.040 m
⇒ 𝐷𝑖=5.42
Steel grade S355⇒
𝐻tower=118 m
ℎhub=120 m
𝑚assrotor=110,000 kg
𝑚assnacelle=240,000 kg
𝑀omentat the top=33000 kN
𝑀omentat the base=284000 kN
Loads calculations and stress analysis
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Reference to data assumptions:
-Load and Dynamic team
-https://www.nrel.gov/wind/data-tools
14/10/2025

## Slide 5
Loads calculations and stress analysis
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Step 1. Calculate vertical loads
At top section
At bottom section
Total vertical load
14/10/2025

## Slide 6
Loads calculations and stress analysis
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Step 2. Section properties at base
Step 3. Base stress due to combined loading
✅ Safe
14/10/2025

## Slide 7: Obstacles of the Transportation, for choosing the Tubular Steel structure.
Design vertical clearance (treaty): 4.90 m
Assume low-loader deck 0.1 m ⇒ Max tower section Ø ≈ 4.8 m
 So transporting the Tower would be impossible using the highways in Syria.
Source: AGREEMENT ON INTERNATIONAL ROADS IN THE ARAB MASHREQ
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
14/10/2025

## Slide 8: 1- A Hybrid tower structure(Concrete bottom, Steel top). 2- Segments of Tubular steel with vertical connections.
For that we came up with two solutions
Source: ResearchGate website
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Source: Enercon
14/10/2025

## Slide 9: Pros: -Lower cost if concrete is cheap. -Very stiff and stable base. -Better damping and corrosion resistance. Cons: -Heavier → harder to transport and lift. -Slower construction. -Complex concrete–steel connection.
Pros and Cons of Hybrid Towers
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
14/10/2025

## Slide 10
Pros and Cons of Tubular Steel Segments with Vertical Connections
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Pros: -Easy transport and assembly. -Faster construction. -Lighter weight → less seismic loadGood aerodynamic and dynamic behavior. Cons: -Higher steel cost -Needs corrosion protection -Careful inspection for fatigue at splices
14/10/2025

## Slide 11
Structure system selection
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Best Choice “Steel tower with vertical splices”:
-Steel tower with vertical splices.
- faster.
-lighter, and more practical for inland Syria.
14/10/2025

## Slide 12
Loads calculations and stress analysis
Fig 10,11: Original handwritten calculations
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 13: work distribution
Mohammed Eldemerdash:
Comparison between the Hybrid and Tubular Steel Segments with Vertical Connections.
The speaker of the presentation.
Ibrahim Mostafa:
Check the stress.
Prepare the presentation.
Kirollos Ghaly:
- no input
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly