## Slide 1
Weekly report: Electrical Drivetrain
Week number: 11
Date: 09/12/2025
Supervisor: Prof. Dr.-Ing. Saiju
Group members: Aiswarya Vijayan, Vishranti Shivajirao Patil , Girish Mahadeo Padalkar, Cristina Milene Vergara Hernandez

## Slide 2: List of contents
Vishranti Patil
Electrical Drive Train/ Optimus Syria
Electrical Parameter of Transformer.
Mechanical Dimension of transformer.
Mat lab simulation & Result of transformer.
Updated design Electrical parameter of Generator.
Mat lab simulation & Result of Generator.

## Slide 3: 1. Electrical parameter of transformer.
Vishranti Patil

## Slide 4: 1. Electrical parameter of transformer.
Vishranti Patil

## Slide 5: 2. Mechanical Dimension of transformer.
Vishranti Patil
960V | Primary side Voltage
20KV | Secondary side Voltage
2.2m × 1.3m × 2.3m(Elsewedy Electric) | Transformer Dimensions (LxHxW)
~7,400 kg | Weight
AN (Air Natural) - No oil required | Cooling
98.0%-99.0% | Efficiency
€232,000 - €257,000 EUR (for the Siemens GEAFOL) €142,500 EUR ( For Elsewedy Electric (Egypt) - Regional Manufacturer | Cost
For Dimensions ,Weight , Cost we take reference from: [Source. 3] & [Source. 4]
Transformer scheme . Source [own]. 06.12.2025

## Slide 6: 3. Mat lab simulation of transformer.
Vishranti Patil
Transformer scheme . Source [own]. 28.11.2025

## Slide 7: 3. Mat lab simulation Result of transformer.
Vishranti Patil
Primary Voltages Secondary Voltages
Transformer scheme . Source [own]. 28.11.2025

## Slide 8: 4. Updated Electrical Parameters of Generator.
Vishranti Patil
Generator scheme . Source [own]. 06.12.2025
Active Power | 5.16 MW
Power factor | 0.9
Speed | 1200 rpm
Frequency | 50 Hz
Efficiency | 96.01%- 97.0%
Dimensions (LxHxW) | ABB & VEM 3.5mX1.7mX1.7 m to 2.0m
Weight | 9–12 tonnes
Cost | €1.71Million - €1.90 Million Euro
For Dimensions ,Weight , Cost we take reference from: [Source. 1] & [Source. 2]

## Slide 9: 5. Mat lab simulation of Generator
Vishranti Patil
Generator scheme .Source [own]. 06.12.2025
Active Power P= (1.72E+06) +(1.72E+06) +(1.72E+06) =5160000= 5.16MW

## Slide 10: 5. Mat lab simulation Result of Generator.
Vishranti Patil
Generator scheme .Source [own]. 06.12.2025
Wind Speed
Wind Power per unit
Pitch Angle
Electrical Torque
Rotor Speed
Reactive Power

## Slide 11: 6.Next Step
To finalize the simulation for all components combined.
To start the redaction of report and final presentation.
Using power factory results to make final selection of cables and switchgear.
Vishranti Patil

## Slide 12: Bibliography
02/12/2025
1. Electrical machines and power electronics course Prof.Dr.-Ing Rajesh Saiju,
2. Power system analysis by hadi saadat. [ 25.11.2025]
3. BETA Elektrotechnik GmbH. “Oil Transformers.” BETA–Elektro, accessed November 29, 2025. https://www.beta-elektro.com/oil-transformers
4. Equivalent Circuit of a Transformer,” Poriyaan. [Online]. Available: https://ece.poriyaan.in/topic/equivalent-circuit-of-a-transformer-20011/. [Accessed: Nov. 29, 2025].
5. Electrical engineering for wind turbines course of Prof. Dr. Ingmar Leise. [ 02.12.2025]
6. [Source. 1]ABB, Wind power generators – Standard doubly-fed induction generators. Rev. E, ABB, 06 2019. [Online]. Available: https://library.e.abb.com/public/b86faa2d634f4010baefd88633123c3d/Wind+power+generators+-+Standard+doubly-fed+induction+generators_9AKK105233_RevE_EN+06-2019_lowres.pdf 7. [Source. 2] VEM Sachsenwerk GmbH, “Product overview – VEM Windpower,” VEM-Group, Dresden, Germany, Apr. 2018. [Online]. Available: https://www.vem.fi/wp-content/uploads/2018/04/Product-overview-VEM-Windpower.pdf (accessed Dec. 7, 2025).
8. [Source. 3] Elsewedy Electric, Transformers Focus Catalogue. Elsewedy Electric, Egypt, [Online]. Available: https://elsewedyelectric.com/pdf/Catalouges/05363875/transformers_focus_catalogue.pdf
9. [Source. 4] Siemens Energy, “GEAFOL cast-resin transformers,” Siemens Energy. [Online]. Available: https://www.siemens-energy.com/global/en/home/products-services/product/geafol-dry-type-distribution-transformers.html. [Accessed: Dec. 07, 2025].
10.