## Slide 1: Weekly report: Tower structure
Week number: 02
Date: 06/10/2025
Supervisor: Prof. Faber
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Speaker: Ibrahim Mostafa(770134)

## Slide 2: List of contents
Selecting Suitable Dimensions for the Tower
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 3
1-Tubular Steel tower system primary design
Tubular steel tower for Siemens
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 4
Loads calculations and stress analysis
Fig 9: how the different loads and moments affect the wind turbine
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 5
Assumptions
𝜌air=1.225 kg/m3
𝜌steel=7850 kg/m3
(Wind class III) 𝑉=37.5 m/s
𝑔=10 m/s2
𝐷rotor=160 m, 𝐷𝑜=6.0 m, 𝑡=0.027 m
⇒ 𝐷𝑖=5.946
𝐻tower=98 m
ℎhub=100 m
𝐶𝑇=0.5
𝐶𝐷=1 ​
𝑚rotor=110,000 kg
𝑚nacelle=240,000 kg
𝑚RNA=350,000 kg
𝑀nacelle=4200 kN
Loads calculations and stress analysis
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Reference to data assumptions:
https://www.nrel.gov/wind/data-tools

## Slide 6
Loads calculations and stress analysis
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 7
Loads calculations and stress analysis
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 8
2. Tubular steel tower with tie system, primary design.
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly
Assumptions
𝜌air=1.225 kg/m3
𝜌steel=7850 kg/m3
(Wind class III) 𝑉=37.5 m/s
𝑔=10 m/s2
𝐷rotor=160 m, 𝐷𝑜=9.0 m, 𝑡=0.027 m
⇒ 𝐷𝑖=8.946
𝐻tower=98 m
ℎhub=100 m

## Slide 9
2. Tubular steel tower with tie system, primary design.
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 10
2. Tubular steel tower with tie system, primary design.
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 11
2. Tubular steel tower with tie system, primary design.
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 12
2. Tubular steel tower with tie system, primary design.
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 13
Loads calculations and stress analysis
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 14
Loads calculations and stress analysis
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 15
Loads calculations and stress analysis
Fig : Original handwritten calculations
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly

## Slide 16: work distribution
Mohammed Eldemerdash:
Searching for the wind loads in IEC 61400-1 code .
Ibrahim Mostafa:
Load calculations and primary design.
Kirollos Ghaly:
- no input
Tower structure team/ Optimus Syria
Group members: Ibrahim Mostafa, Mohammed Eldemerdash, Kirolls Ghaly