## Slide 1: Weekly report: Storage System
10th week – 11th Presentation
Date: 02/12/2025
Supervisor: Dr. Laurence Alhrshy
Group members : Dr. Doha Khaled Jdeed , Mohamed Ahmed
Mohamed Ahmed
02/12/2025
Storage System Team/ Optimus Syria

## Slide 2
Content
Why use Simulink
Simulink Model
Simulation Scenarios
References
Mohamed Ahmed
02/12/2025
Storage System Team/ Optimus Syria
2
avaada.com/advantages-of-wind-energy/ 30\11\2025

## Slide 3: Why use Simulink
Mohamed Ahmed
Storage System Team/ Optimus Syria
02/12/2025
Verify the developed storage concept
Model the system behavior: wind turbine + battery + grid
Simulate different scenarios: battery charge/discharge, peak shaving, curtailment, grid faults
Check adequate battery sizing
Evaluate grid service performance

## Slide 4: Simulink Model
Power from the wind turbine is directed either to battery storage or to the grid
• A control system decides the proper routing of power.
  Decision Criteria:
  Power signal: from the wind turbine
  State of Charge (SoC): battery
  Curtailment signal: grid
  Peak shaving: grid
  Grid fault: grid
Mohamed Ahmed
Storage System Team/ Optimus Syria
02/12/2025
Optimus Shakti. 30\11\2025
4

## Slide 5: Simulation Scenarios
  Scenario 1:
Mohamed Ahmed
Storage System Team/ Optimus Syria
02/12/2025
Criteria: | Yes | No
Power signal |  | 
State of charge in operational range (0.2<Soc>1) |  | 
Curtailment signal |  | 
Peak shaving |  | 
Grid fault |  | 
Description: Generated electric power directly flow to the power system. The battery is neither charging nor discharging
Criteria: | Yes | No
Power signal |  | 
State of charge in operational range (0.2<Soc>1) |  | 
Curtailment signal |  | 
Peak shaving |  | 
Grid fault |  | 
Scenario 2:
Description: The wind turbine deliver the generated power to the power system , while the remaining curtailed power charges the battery.
5

## Slide 6: Simulation Scenarios
Mohamed Ahmed
Storage System Team/ Optimus Syria
02/12/2025
Criteria: | Yes | No
Power signal |  | 
State of charge in operational range (0.2<Soc>1) |  | 
Curtailment signal |  | 
Peak shaving |  | 
Grid fault |  | 
Description: The generated power cannot meet the high grid demand, so the remaining power for the peak shaving is provided by the battery.
Criteria: | Yes | No
Power signal |  | 
State of charge in operational range (0.2<Soc>1) |  | 
Curtailment signal |  | 
Peak shaving |  | 
Grid fault |  | 
Scenario 4:
Description: During a grid fault, the generated power is redirected entirely to the battery, in order to support gradually slow down the wind turbine and smooth the shutdown.
Scenario 3:
6

## Slide 7: Simulation Scenarios
Mohamed Ahmed
Storage System Team/ Optimus Syria
02/12/2025
Criteria: | Yes | No
Power signal |  | 
State of charge in operational range (0.2<Soc>1) |  | 
Curtailment signal |  | 
Peak shaving |  | 
Grid fault |  | 
Description: When the wind turbine is not generating power, there will not be a power flow nether to the power system nor the battery. The grid behavior becomes irrelevant in this scenario.
Criteria: | Yes | No
Power signal |  | 
State of charge in operational range (0.2<Soc>1) |  | 
Curtailment signal |  | 
Peak shaving |  | 
Grid fault |  | 
Scenario 6:
Description: If the battery SoC is outside the operational range, the battery cannot be charged (SoC>1) or discharged (SoC<0.2). Curtailment requires aerodynamic turbine reduction; peak shaving and grid support are restricted accordingly.
Scenario 5:
7

## Slide 8: Grid Services: Steadying the power infeed
Mohamed Ahmed
Storage System Team/ Optimus Syria
02/12/2025
8
•High frequented fluctuations of the generated power will be smoothed by battery storage .
•Steadying of infeed power by charging and discharging of battery storage.
•Low pass filter will supress high frequencies and moving average filter high ramps.
Picture: own creation (30.11.2025)
Picture: own creation (30.11.2025)

## Slide 9: Next Presentation
Cable Calculations
Grid/Turbine Services
Mohamed Ahmed
Storage System Team/ Optimus Syria
02/12/2025
9
Notes: Add references

## Slide 10: Next Presentation
•1.https://www.mdpi.com/1996-1073/14/9/2556?utm_source
•https://syrianrenewables.com/
Mohamed Ahmed
Storage System Team/ Optimus Syria
02/12/2025
10
Notes: Add references